## Slide 1
RLKM
Introduction of work in ASML
YieldStar SW

## Slide 2
YieldStar Metrology
TM Task(ACPD)
Source project overview
V-model
Agenda

## Slide 3: YieldStar Introduction
YieldStar hardware
Raw measurement signal
“CD”
“OV”
Relevant metrics
CD = “Critical dimensions”
OV = “Overlay”

## Slide 4: Task Manager User Interface

## Slide 5: Task types
Adjustment
Adjust the system. User Interface, operator feedback
Calibration
Calibrate the system. Update equipment constants
Performance
Measure the performance of the system
The different task types share functionality (Measure, Recognize…)

## Slide 6: Technologies
Windows Presentation Foundation (WPF)
“Next-generation presentation system for building Windows client applications”
Caliburn Micro MVVM framework
Bootstrapping UI, Conventions to link view to ViewModels
Windows Communication Foundation (WCF)
Communication between client and service processes based on contracts
AutoFac
Inversion of Control, Dependency Injection
XSLT
Output report template
Rhino and Moq framework
Unit-Test framework

## Slide 7: Model View ViewModel
TaskModel
Does not know about UI
TaskViewModel
Connects Model to View
TaskView
UI Element
WPF DataBinding
Acquire and publish images
Perform calculations and publish results
Convert Model data to a format the View can bind to
Forward commands from the View to the Model
Display images
Translate keystrokes/mouse clicks into commands for the ViewModel
WCF
Client
Server

## Slide 8: #Task 402 Class Diagram

## Slide 9: Source Component Overview
MOTOR FRAME
5x ND
1x slot
3x spare
OPTICAL BASE FRAME
LWP
SWP
LPPS
Mixing fiber
Z
Y
≅4%
≅ 4%
Spectrometer
H
V
Cal. source
F1
L1
M1
L2
L3
BS1
M3
L4
F3
F2
F4
L5
BS2
ND1
M2
L6
ND2

## Slide 10: CLM tasks overview
existing calibration
< SP18
performance task
new calibration
Task 605
WL home offset
Task 602
Enc Pos to WL
Task 641
ND filter
Task 601
ND filter
Task 603
WL offset
Task 630
CLM spectral
Task 625
Enc Pos to WL
CL Module
Task 600
WL coarse
Task 623
DC Offset
Task 604
DC offset
Task 611
Non-linearity
Task 612
Irradiance
Task 619
WL fine
Task 628
Spectrometer
Task 626
WL fine
Internal Spectrometer
Task 630 has 603 included

## Slide 11: YS component network connection

## Slide 12: LPPS GUI
The QCM and Laser block : related to QCM and Laser hardware
WinForm
AutoFac

## Slide 13: LampModuleControllerTool
WCF
WPF

## Slide 14: Introduction to System Hardware Setup Tool
The hardware setup tool prepares the system for recovery after a spare part swap or hardware upgrade.
It achieves this by setting the correct configuration and equipment constants

## Slide 15: SHST support
Reset configuration constants and ECs depending on the selected scenarios.
Add 5 newly error/warning codes for SHST to support LPPS MK4 introduction.
Support FW update on LPPS Mk4

## Slide 16: V model
SW Code
Acceptation Test
Alpha & Beta Test
Business Specification
Customer Business Processes
Functional Specification
System Test
Specify
Qualify
EPS, EDS, TPS
Module Integration Test
Unit Test
BB + FC Integration Test
EPS, EDS, TPS
Inter FC
Quality Gates
SPS, SDS, TPS
Customer Level
Functional Level
Technical Level
STI team :
  Merge code change
  Alpha & Beta Test
SW Team :
  SW EPDS, SW code change and SW TAR
Physics :
  Provide A4 spec, verify dev patch

## Slide 17
Q & A

## Slide 18
Backup Slides

## Slide 19: CL Module
CL Calibrations
Task Name | Task Number | Q-Tool
Calibrate Illumination Spectrometer Wavelength Coarse | 600 | 613
Calibrate Illumination Wavelength Home Offset | 605 | 605
Calibrate Illumination Spectrometer DC Offset | 604 | 616
Check Illumination Spectrometer DC Offset | 623 | 624
Calibrate Illumination Spectrometer Non-Linearity | 611 | 617
Calibrate Illumination Spectrometer Irradiations | 612 | 618
Calibrate Illumination Spectrometer Wavelength Fine | 619 | 620
Check Illumination Spectrometer Wavelength Fine | 626 | 627
Calibrate Illumination Encoder Position to Wavelength | 602 | 602
Check Illumination Encoder Position To Wavelength | 625 | 625
Calibrate Illumination ND Filter Position | 601 | 601
Calibrate Illumination Wavelength Offset | 603 | 603
Check Illumination CLM Spectral | 630 | 630
Check Illumination Spectrometer | 628 | 629
Integration Time Determination Coarse | 609 | 609
Integration Time Determination Fine |  | 
Notes: CL module parts are very sensitive. They are not preadjusted and stay at the same position for long. They continuously change position, the filters and light.
To adjust them with a set of calibrations is needed for better accuracy and at the end better performance of the YS system.

## Slide 20
LampModuleControllerTool – details
CLM Tasks
Autofac
LPPS PowerOnSequence
Caliburn
Contract Example
Sensor Assembly
DP : Simple factory
Back up slides

## Slide 21: Light Source Control Software

## Slide 23: Caliburn.Micro;

## Slide 24: CLM Tasks
Task 616
DC offset
Task 624
DC offset
Task 618
Irradiance
Task 620
WL fine
Task 627
WL fine
Task 629
Spectrometer
Task 617
Non-linearity
Task 605
WL home offset
Task 602
Enc Pos to WL
Task 641
ND filter
Task 601
ND filter
Task 603
WL offset
Task 630
CLM spectral
Task 625
Enc Pos to WL
CL Module
External Spectrometer
New task VHV
new task
ACE
existing task
< SP18
Task 613
WL coarse
Task 610
Spectral
Task 600
WL coarse
Task 623
DC Offset
Task 604
DC offset
Task 611
Non-linearity
Task 612
Irradiance
Task 619
WL fine
Task 628
Spectrometer
Task 626
WL fine
Internal Spectrometer
Task 630 has 603 included
ACE contributes 16 out of 24 blocks for CLM SP18 delivery!
Fig. Full YS(1)375 CL Module Tasks Package
Notes: CLM source project contains 3 parts: internal/CLM/external….
Blocks with empty rectangle are existing tasks.
Others are newly introduced tasks.
Among them ACE participates……….
6 tasks for internal spectrometer/ 5 tasks for CL module/ 5 tasks for external spectrometer
Therefore, ACE contributes totally 16 tasks for CLM SP 18 delivery.

## Slide 25: Working our way through the V-diagram
Qualify design versus requirements at all levels
TAR
(Alpha test)
EDS
TPD
Parts
SW Code
TAR
Parts
EDS
EPS TPS
TAR
(Beta test)
SPS
SDS
EPS TPS
PRS
TAR
Integrate
module
Integrate
in subsys
TAR
Integrate
in proto
SPECIFY from SYSTEM to PART QUALIFY from PART to SYSTEM
Module
Sub
system
System
Roadmapping
SEG DOCUMENTS
PRS = Product Requirements Spec
SPS = System Performance Spec
SDS = System Design Spec
EPS = Element Performance Spec
EDS = Element Design Spec
TPS = Test performance Spec
TAR = Test Acceptance Report
TPD
TPD = Techn. Product Documentation
(e.g., A4 spec.
Functional TPS)
(e.g., Functional TAR)
(e.g., SW EDS, SW TPS)
(e.g., SW TAR)
Notes: Diagram explanation: - it is just a model - good points: - what you specify you need to verify/test later - you have decomposition according product breakdown top-down - integration follows product breakdown bottom-up - weak points: - there are many iterations, and things run concurrent during decomposition You use it as far as it can help you
EDS = design specification. Specification = formal definition. Your design = their requirement, requirement for lower level of product breakdown.
EPS = WHAT, EDS = HOW. If you need to delegate specify the what, and try to keep away from the how. It pulls on the creativity / expertise of the other. Example: schilderswinkel, if you want advice you can ask “I have to paint a wall and what do I need to get this done ?
The valley of the V -> after some ‘tours of duty’ you can oversee the complete development V at the start. Not only comfortably rolling down, but you have to climb up. So: can I get this manufactured, tested, integrated into module, into proto, operated at customer is part of the total development
added wk 1339, session 25

## Slide 26: LampModuleControllerTool - details

## Slide 27: Autofac

## Slide 28: LPPS power on sequence

## Slide 29: Lambda function as action

## Slide 30: - IScheduler(hard)

## Slide 31: ILampModuleControllerToolContract
Used by ViewModel to control the back-end
Back-end need to implement those function
ILampModuleControllerToolContract
  Implemented by LampModuleWcfService
  In LampModuleWcfService, it got a front-end member(ContractCallback)
  Below functions implemented by VM

## Slide 32: Simple Factory

## Slide 33: YieldStar Sensor Sub-Assemblies
UIA
FBIA
FBDA

## Slide 34: Get data from EC in a quick mode

## Slide 35: Disposable
link

## Slide 36: Idispose sample code for LampModule
Lamp.cs