## Slide 1
BLIQ
R3 Task input and output

## Slide 2: Data flow
Task
Input
Output
TaskInput
Settings
Parameters
Cdh-Source*
Cdc*
Report-OuputHandler
Spec-OuputHandler
SPC-OuputHandler
SDT-OutputHandler
Cdh-Traget*
* Cdh = Calibration Data Handler
Cdc = Calibration Data Calculator
Task-UI

## Slide 3: Data flow diagrams

## Slide 4: TaskInput and settings

## Slide 5: Calibration data handlers / calculators

## Slide 6: Report

## Slide 7: Test Constants (Spec and Parameters)
Spec definition:
#id
Name
Unit / DisplayUnit
Task
Parameter definition:
#id
[optional] #Spec-id
Name
Default limits [0..4]
Unit / DisplayUnit
Task
Spec value:
#id
Double value

## Slide 8: SPC
SPC Data:
#id
Name
Unit & DisplayUnit
TaskName
ExecutionID & ExecutionTime
MachineID & SensorID
Condition: S, P, A, Spot, Att, etc.
Data: double / table / image
Label
SPC value:
#id
Value: double / table / image
Condition : S, P, A, Spot, Att, etc.
Label
SPC definition:
#id
Type: Measurement, Img, table
Name
[optional] Unit / DisplayUnit
[optional] …
Not implemented
(Temporary: Spec values are used for statistics)

## Slide 9: SDT
?
SDT - Not implemented

## Slide 11: SPC
public class SpcMeasurementCondition
{
public MachineSensingLight? SensingLight { get; set; }
public Polarisation? Polarisation { get; set; }
public Aperture? Aperture { get; set; }
public SensingSpotSize? SensingSpotSize { get; set; }
public FocusLight? FocusLight { get; set; }
public AligningLedColor? AligningLedColor { get; set; }
public Attenuator? Attenuator { get; set; }
}
public interface ISpcOutputHandlerTarget
{
void AddMeasurement(ISpcMeasurementKey key, SpcMeasurementCondition spcMeasurementCondition, double measured, BaseUnit baseUnit, string label = null);
void AddPng(ISpcImageKey key, SpcMeasurementCondition spcMeasurementCondition, ImageMatrix image, string label = null);
void AddZernikeData(ISpcZernikeKey key, SpcMeasurementCondition spcMeasurementCondition, ZernikeData zernikeData, string label = null);
void AddGridDeviationData(ISpcGridDeviationKey key, SpcMeasurementCondition spcMeasurementCondition, IEnumerable<GridDeviationPoint> gridDeviationPoints, string label = null);
void AddWaferPositionData(ISpcWaferPositionKey key, SpcMeasurementCondition spcMeasurementCondition, IEnumerable<WaferGaMarkPosition> waferGaMarkPositions, string label = null);
void AddWaferRotationData(ISpcWaferRotationKey key, SpcMeasurementCondition spcMeasurementCondition, IEnumerable<WaferGaMarkRotation> waferGaMarkRotations, string label = null);
void AddEquidistantInterpolationTable(ISpcEquidistantInterpolationTableKey key, SpcMeasurementCondition spcMeasurementCondition, EquidistantInterpolationTable table, string label = null);
//void AddShackHartmann(SpcShackHartmannDef def, ShackHartmannData data);
}